- 10/16/2024 flash meeting managers mentioned the :

- Snowy channels: I replied that we are aware and work in progress

- Hot water issue: in some second floor rooms : I replied with we are working on it since morning , problem was solved on the same day by opening the under sink hot water valves all the way

- 10/16/2024 : TVs on the 3rd floor are snowy , met with Daniel from Remar (dhorton@remartg.com ) , he confirmed that we have a signal poster we only need to adjust to the wiring which is not a big job , he will provide his W9 and the quote

- 10/17/2024 Jersey Infrared Consultants scheduled for our annual survey (at 7:00 a.m. on Wednesday 10/30/2024, and continue through Friday)

- Sean will be here for the Dexa scan project on October 22nd @ 6:00 am , Steve will be here between 7:00 and 7:30 AM – Coordinated with Radiology , room will be available on 22nd and 23rd

- 10/17/2024 Ken is off for Jury Duty on 10/17/2024, he texted me the night before it.

- 10/17/2024 Adan from the lab was asking about ED air temp log, I advised him that he have to wait till Warren comes back.

- 10/18/2027  Ethan felt so sick I left at 12:30 ( I  let Denise know before I leave )

- 10/21/2024  scheduled DC Group for UPS & batteries semi annual inspection for Wednesday 23rd @ 9AM Tech is Jeff Extor

- 10/21/2024 scheduled Chadwick inspection for 10/21/2024 and it was done on the same day

- 10/21/2024 scheduled Oliver- the clean agent system inspection for Monday 28th between 11 am and 11:30 am

- 10/21/2024 scheduled Olive – Kitchen system inspection from 4Am to 5 Am , talked to Greg and emailed you Sophia and Greg

- 10/21/2024 Shawn asked to put up a sign on MOB close to water fountain, sign put up on the same day.

- 10/21/2024 scheduled Glass company to come on 10/22/2024  inspect SON room #219

- Harrison requested November 7,8,14 off

- 10/17/2024 Called Bobby the electrician to see if he is coming that week , Bobby had an emergency and couldn’t make it but he will be here week of 21st